Report EV/HAB/02/01-3:

A Proposed Benguela Regional Shellfish Sanitation Monitoring Program

Project: EV/HAB/02/01 – Benguela Current Large Marine Ecosystem:

Harmonization of Regulations for Microalgal Toxins and Related Sanitary Issues for Application in Countries Bordering the Benguela Large Marine Ecosystem

Bronwen Currie

Directorate of Aquaculture

Ministry of Fisheries and Marine Resources, Swakopmund, Namibia

Deon Louw

Directorate of Resource Management

Ministry of Fisheries and Marine Resources, Swakopmund, Namibia

Donald M. Anderson

Department of Biology

Woods Hole Oceanography Institution, Woods Hole MA 02543-1049 USA

Paul S. Anderson

Maine Sea Grant Program, University of Maine

Coburn Hall, Orono, Maine 04469 USA

Margarita Fernández-Tejedor

Centre d'Aqüicultura - Institut de Recerca i Tecnologia Agroalimentàries IRTA

Sant Carles de la Ràpita, Spain

Terry McMahon

Marine Institute, Abbotstown

Dublin 15, Ireland

Isabel Rangel

Department of Oceanography, Instituto Nacional Investigação Pesqueira IPIM,

Luanda, Angola

Cover image credit:  Collin Roesler, Bigelow Laboratory for Ocean Sciences

Design:  Judy Kleindinst

This report to be cited as:

Louw, D., Currie, B., Anderson, D.M., Anderson, P.S., Fernández-Tejedor, M., McMahon, T., Rangel, I. and P. Ellitson  2005 - A Proposed Benguela Region Shellfish Sanitation Monitoring Program.  Report BCLME project EV/HAB/02/01: Harmonization of Regulations for Microalgal Toxins for Application in Countries Bordering the Benguela Large Marine Ecosystem.

TABLE OF CONTENTS

Executive summary…………………………………………………………………………….6

1. 	BACKGROUND AND INTRODUCTION TO SHELLFISH SANITATION PROGRAM	8

1.1	Background	8

2	SCOPE AND AUTHORIZATION	10

3	RULES	10

4	LEGISLATION	14

5	CLASSIFICATION OF SHELLFISH GROWING AREAS	14

5.1	Compliance	14

5.2	Sanitary Survey	15

5.2.1	Establishing sampling stations:	15

5.2.1.1	Land-based mariculture systems	15

5.2.1.2	Ocean-based cultivating/growing areas	16

5.2.1.3	Biotoxins and other hazardous substances	16

5.2.2	Frequency of Sampling Required	16

5.2.3	Sampling protocol for microbiological parameters of production waters and products	17

5.2.4	Approved areas	18

5.2.5	Controlled areas (conditionally approved or restricted):	18

5.2.6	Prohibited areas	19

5.2.7	Toxic and hazardous substance parameters for shellfish products	20

5.2.7.1	Limits for environmental toxins	20

5.2.7.2	Limits for biotoxins	20

5.2.7.3	Limits for veterinary drugs	20

6	MONITORING OF SHELLFISH PRODUCTION AREAS	20

6.1	Background	20

6.2	Microbiological monitoring	21

6.3	Monitoring of toxic and hazardous substances	23

6.4	Biotoxin monitoring	24

6.4.1	Biotoxin Management Plan (See ANNEX V)	25

6.4.1.1	Routine monitoring phase.	25

6.4.1.2	Intensive sampling phase	26

6.4.1.3	Quarantine phase	26

6.4.1.4	Re-opening phase	27

7	REQUIREMENTS FOR HARVESTING AND TRANSPORT OF LIVE SHELLFISH TO A DISPATCH CENTRE, PURIFICATION FACILITY OR AREA, OR PROCESSING PLANT	28

7.1	Harvesting requirements	28

7.2	Transport and Vessels	29

7.3	Documentation and records	29

8	REQUIREMENTS FOR RELAYING OF SHELLFISH	30

8.1	Conditions	30

8.2	Source of shellfish	31

8.3	Relaying areas	31

8.4	Operating procedures	31

8.5	Records	32

9	DEPURATION	33

9.1	Conditions	33

9.2	Process verification	33

9.3	Source of shellfish	34

9.4	Structural requirements	35

9.5	Process water quality and operation	35

9.6	Sanitation of systems	36

9.7	Quality assurance	37

9.8	Records	38

10	WET STORAGE	38

10.1	Conditions	38

10.2	Source of shellfish	39

10.3	Structural and design requirements	39

10.4	Water quality	40

10.5	Records	41

11	REQUIREMENTS FOR DISPATCH CENTERS	41

11.1	Receiving and storage	41

11.2	Marking of consignments and records	42

11.3	Transport from a dispatch center	43

12	CANNING OR COOKING AND FREEZING	44

12.1	Requirements for processing establishments	44

12.2	Canning in hermetically sealed containers	44

12.3	Cooking, cooling, packing and freezing	44

13	DEFINITIONS	45

LIST OF ANNEXES

ANNEX I: 	 SAMPLING OF SHELLFISH AND WATER……………………………………51

ANNEX II: 	 MINIMUM REQUIREMENTS OF THE SANITARY SURVEY REPORT……53

ANNEX III:	 RECOMMENDED METHODS FOR THE ANALYSES OF BIOTOXINS IN  SHELLFISH MEATS………………………………………………………….……57

ANNEX IV:	 PLAN OF ACTION FOLLOWING NON-COMPLIANCE WITH       MICROBIOLOGICAL LIMITS FOR SHELLFISH………………………………..60

ANNEX V:  	PLAN OF ACTION WHEN BIOTOXINS ARE DETECTED IN SHELLFISH….61

ANNEX VI:	 SUMMARY OF DOCUMENTATION/LABELLING REQUIREMENTS DURING TRANSPORT OF LIVE MOLLUSCAN SHELLFISH………………………...….62

ANNEX VII: 	DONOVAN METHOD FOR THE EXAMINATION OF SHELLFISH FOR Escherichia coli…………………………………………………………………….63

list of tables

GLOSSARY OF TERMS AND ACRONYMS

ADP:	Approved depuration process

ASP:	Amnesic Shellfish Poisoning

AZP:	Azaspiracid Shellfish Poisoning

BCLME: 	Benguela Current Large Marine Ecosystem

Bioassay:	Measurement of the concentration or potency of a substance by its effect on living cells or tissues.

CA: 			 Competent Authority:

CoP:	Code of Practice for the Monitoring of Marine Biotoxins in Bivalve     	Molluscs

DA:  			 domoic acid

DSP:  			 diarrhetic shellfish poisoning

EU:  			 European Union

FC:  			 faecal coliform

FDA: 			 Food and Drug Administration (of the USA)

GRAS:	Generally regarded as safe

HAB:	Harmful algal bloom

HACCP:		 Hazard analysis and critical control point

HPLC:	High Performance Liquid Chromatography

LC-MS:	Liquid Chromatography - Mass  Spectrometry

MPN:	most probable number

MSSC:	Molluscan Shellfish Safety Committee

PCB:	polychlorinated biphenyl

Production Week:	Seven consecutive days starting with Sunday and concluding on 	Saturday

PP:	pollution point

NP:	non-point pollution

PSP:	Paralytic Shellfish Poisoning.

YTX:	Yessotoxin

IIM:  			 Instituto de Investigaçao Marinha (Luanda, Angola)

IPIM:			 Instituto Nacional Investigação Pesqueira (Luanda, Angola)

IRTA: 		Institute for Food and Agricultural Research and Technology (Spain)

EXECUTIVE SUMMARY

As molluscan bivalves filter and ingest particulate matter in the seawater around them, they  concentrate bacteria, viruses and other potentially dangerous biological contaminants that can make consumers sick. Another risk to shellfish consumers is from blooms of toxic algae (termed harmful algal blooms or HABs) that are filtered from the water by the shellfish which then accumulate the potent biotoxins. Because of the dual threat to consumers from algal toxins and microbial and other contaminants, specific regulations and procedures have been developed internationally to ensure that shellfish are harvested, handled, processed and shipped under appropriate conditions to ensure consumer safety. HAB monitoring programs are typically embedded within comprehensive shellfish safety programs (often termed shellfish sanitation programs).

As part of the BCLME project “Harmonization of Regulations for Microalgal Toxins for Application in Countries Bordering the Benguela Current Large Marine Ecosystem” (EV/HAB/02/01), this report presents a model shellfish sanitation program for the BCLME region.  Information is presented in the form of a manual for Competent Authorities, health officials, and the shellfish Industry that will provide the necessary guarantees to foreign buyers and Governments as well as to local consumers that the risk of disease and poisoning through the consumption of molluscan shellfish is adequately managed and minimized.

The policies and procedures set out in the Model Program cover the following components of a typical shellfish sanitation program:

- Growing area classification for sanitary pollution

- Water quality monitoring

- Marine biotoxin management plans and contingency plans

- Processing, shipping and handling of live shellfish

- Laboratory methods for microbiological contaminants and marine biotoxins

- Enforcement of shellfish safety regulations

This Model Program outlines:

- How shellfish and phytoplankton samples are to be collected, handled, transported, delivered to the laboratories, and the methods of analysis for biotoxin and sanitary pollution,

- The procedures for reporting of results, and,

- The procedures for opening/closing production areas, and,

- The procedures for regulating the harvesting, processing and shipping of live bivalve molluscs.

This manual is intended to be a generic template that can be modified for use by individual countries so that the program complies with their legislation and government policies but which at the same time ensures harmonization of procedures and equivalence of testing methods across the region.

# 1. 	INTRODUCTION TO SHELLFISH SANITATION PROGRAMS

## Background

As they feed on microscopic plants and animals in the water, molluscan bivalve shellfish filter and ingest any particulate matter that happens to be in the growing areas.  In coastal areas that are subject to sewage or faecal contamination, shellfish will concentrate bacteria, viruses and other potentially dangerous biological contaminants, and can make the consumer sick.  There are many examples worldwide where consumers of shellfish have contracted hepatitis, cholera, Norovirus and other microbial diseases from the consumption of shellfish harvested in polluted waters.  Shellfish can also concentrate pollutants, such as heavy metals and PCBs, and when they are subject to the discharges from industrial areas.   Since shellfish consumers expect their shellfish to be of high quality and wholesome until they are cooked or ingested, there have been many specific regulations and procedures developed internationally to ensure that shellfish are harvested, handled, processed and shipped under appropriate conditions to ensure consumer safety.

Another risk to shellfish consumers is from the occurrence of toxin producing algae (often termed harmful algal blooms or HABs) that are filtered from the water by the shellfish which then accumulate the biotoxins.  Programs to monitor for algal toxins in shellfish tissues have now been implemented in most shellfish-producing countries throughout the world, and are underway in the BCLME region. Because of the dual threat to consumers from algal toxins and microbial and other contaminants, HAB monitoring programs are typically embedded within comprehensive shellfish safety programs.

This program has been prepared by a team working on a BCLME project “Harmonization of Regulations for Microalgal Toxins for Application in Countries Bordering the Benguela Current Large Marine Ecosystem” (EV/HAB/02/01) as a model program for the BCLME region.  The objective is to produce an official manual for Competent Authorities, health officials, and the shellfish Industry that will provide the necessary guarantees to foreign buyers and Governments as well as to local consumers that the risk of disease and poisoning through the consumption of molluscan shellfish is adequately managed and minimized.  This report is presented in the form of that manual, and is intended to be a generic template that can be modified for use by individual countries so that the program complies with their legislation and government policies but which at the same time ensures harmonization of procedures and equivalence of testing methods across the region.

Any shellfish sanitation program should be internationally acceptable. Several countries around the world, including Ireland, New Zealand, the US and others have adopted and implemented such programs which provide models for this proposed program for the Benguela Region.  Trading partners and regional associations, such as the European Union (EU) have done the same.  The policies and procedures set out in the Model Program cover the following components of a typical shellfish sanitation program:

- Growing area classification for sanitary pollution

- Water quality monitoring

- Marine biotoxin management plans and contingency plans

- Processing, shipping and handling of live shellfish

- Laboratory methods for microbiological contaminants and marine biotoxins

- Enforcement of shellfish safety regulations

The sampling and analysis effort required for classification and monitoring represents a significant commitment of personnel and financial resources.  In practice, many countries share these costs and responsibilities between government and industry.  For example, the government may choose to cover all costs of classification of growing areas as well as ongoing monitoring (sample collection, transport and laboratory analysis), or it might pay for the classification, but expect industry to bear the costs of ongoing monitoring at their facilities.  At the other extreme, the industry may need to bear all of the costs of the classification and monitoring phases of the program.  Any final version of this draft ordinance should specify how these sampling and analysis costs are to be apportioned.

This Model Program outlines:

- How shellfish and phytoplankton samples are to be collected, handled, transported, delivered to the laboratories, and the methods of analysis for biotoxin and sanitary pollution,

- The procedures for reporting of results, and,

- The procedures for opening/closing production areas, and,

- The procedures for regulating the harvesting, processing and shipping of live bivalve molluscs.

# SCOPE AND AUTHORIZATION

This manual addresses the public health issues related to the production, harvesting and placing on the market of live molluscan shellfish intended for immediate human consumption or for further processing before consumption.  Hatcheries and nurseries are not subject to public health requirements provided the product is more than 6 months from minimum market size. The manual applies to molluscan shellfish as defined under Section 13.  The manual addresses sanitation issues related to the commercial production and harvesting of molluscan shellfish prior to placing on the market, including growing area classification, harvesting, wet storage, relaying, depuration, packaging, dispatch, processing, transporting, labeling and storing of shellfish.

The manual includes the monitoring activities required for the inspection and audit of growing areas and establishments in the interests of public health.  These activities will be managed and controlled by the recognized Competent Authority for each country in the BCLME region.

.

# RULES

3.1	The definitions in Section 13 apply in this manual unless the context requires otherwise.

3.2	[insert name of agency] is the Competent Authority responsible for the regulation and control of the production, harvesting, transport, relaying, depuration and wet storage of molluscan shellfish for wholesale trading in terms of the [insert appropriate legislation].  Authorizations may be administered through the issue of a mariculture right and permit or licensing of commercial wild harvest or other legal instruments as appropriate. Land-based wet storage facilities and depuration plants must obtain appropriate approvals from the relevant authorities [insert appropriate agencies].

3.3	Establishments packing or processing molluscs (live, chilled, canned or frozen products) must also be licensed by the Competent Authority in cooperation, if necessary, with other appropriate agencies Such establishments will be licensed only when the operator can produce a valid certificate of approval for the establishment. Each establishment must be licensed annually.

3.4	The Competent Authority shall appoint official inspectors (e.g., fisheries inspectors, observers, control officers, environmental health practitioners) or other appropriately trained personnel to assist with the official survey and sampling activities, and for the inspection of compliance of operators with the requirements of this manual.  The responsibilities of the inspector/officer shall be delineated in writing.

3.5	Where inter-government guarantees are sought (health certificate), the Competent authority (e.g. [insert agency names]) must have free access to all appropriate records.

3.6	To enable proper liaison between the Competent Authority and any authority to which it has delegated responsibility in regard to 3.2 - 3.4 above, a Memorandum of Understanding must be prepared and signed by all parties.

  - The Competent Authority, or any authority to which it has delegated responsibility, shall keep and maintain a central file containing copies of the records and documents required by this manual including:

- Copies of permits and other approvals

- Official laboratory evaluation records

- Individual growing area reports (e.g. maps of growing areas, surveillance records, sanitary surveys, management plans, transport, closure, harvesting criteria adjustments, reclassification of areas and annual evaluation reports)

- Details regarding mariculture operations including reconstruction and remodeling plans

- Summaries of shellfish food-borne illness reports, where available (from the  Health Department)

- Marine biotoxin and sanitary monitoring data and notices

- Enforcement action reports

- Evaluation reports generated by foreign governments or local authorities

- All data, criteria and protocols relating to the operation of a restricted area such as relaying reports, depuration reports, harvesting permits and harvesting control records

- All data procedures and reports on wet storage

- All approved documentation for licensing of dispatch and processing establishments.

3.8	The official approved inspector servicing an establishment where molluscan shellfish are landed for relaying, wet storage, depuration, preparation, processing and final packaging or repacking must also keep a file containing copies of the relevant records, documents and reports described in paragraph 3.7.

  - Industry shall keep complete, accurate and legible shellfish transaction records for at least 1 year in a permanently bound ledger book (or other approved method).  This pertains to each authorized mollusc harvester including relayer, depuration plant, wet storage unit and establishment packing and/or processing shellfish operator.  Such records shall include:

- All information necessary to trace all purchases and sales of cultivated molluscan shellfish back to their growing area source;

- Dates of harvesting of molluscan shellfish and of their arrival at the licensed premises for the intended process, including dates of shucking, packing and dispatch;

- Results of all laboratory analyses

- Permanent records of relaying and depuration activities where applicable.

3.10	Permits to cultivate and harvest shellfish for direct human consumption or further processing shall be issued by the Competent Authority subject to a satisfactory classification of the growing or relaying area following a sanitary survey.  An area shall be classified as suitable for growing and harvesting shellfish if it meets the requirements for approved or controlled areas as specified in Paragraphs 5.2.4 and 5.2.5.

3.11	It is government policy to promote the development of new mariculture operations in waters meeting the approved criteria. In view of the extra demands for the management and control and the greater risk of contamination for shellfish products originating from waters of lesser microbiological status than approved areas, cultivating shellfish in such areas is discouraged. Approval for cultivation in waters with microbial pollution will require detailed justification.

3.12	Once a growing area has been shown to conform to the approved area requirements (Paragraph 5.2.4) or that it may be utilized under certain conditions (Paragraph 5.2.5), a permit/license may be issued to the operator.   The conditions for operation, harvesting, transport, relaying and marketing will be controlled through either regulation or permitting. [choose approach suitable for a particular country]  Access and assistance to official staff to all production and processing facilities shall be provided for monitoring and inspection purposes as specified in Sections 8-12.

3.13	Harvesting, handling and transport of molluscan shellfish by licensed operators shall be regulated as given in Section 7.

3.14	Relaying and depuration are intended to reduce the number of pathogenic organisms that may be present in shellfish from moderately polluted waters and, in the case of relaying, to reduce biotoxins to safe levels.  These different purification approaches are not intended for heavily microbiologically contaminated shellfish (e.g. prohibited areas) or to reduce the levels of other accumulated toxic substances.

3.15	Purification of shellfish in relaying areas or in depuration plants may only take place with a permit obtained from the Competent Authority.  The permit shall be specific for the particular depuration plant or relaying area.  The requirements for the relaying of shellfish are given in Section 8. The layout and water quality required of depuration facilities must comply with the requirements given in Section 9.

3.16	Each nearshore wet storage site for shellfish shall be approved as above (Paragraph 3.10).  The general requirements for wet storage, both nearshore and land-based are given in Section 10.

  - Requirements for dispatch centers and processing establishments are given in Section 11.

# LEGISLATION

[Insert a list of appropriate national legislation relevant to this draft ordinance.]  This information is contained in BCLME report EV/HAB/02/01 “Review and assessment of existing policies and approaches regarding harmful algal bloom management, marine water quality, and shellfish sanitation in Angola, Namibia and South Africa”, Currie, B., Anderson, D. M., Anderson, P. S., Louw, D., Fernández-Tejedor, M., Da Sliva, A. and I. Rangel.  2004.

# CLASSIFICATION OF SHELLFISH GROWING AREAS

## Compliance

Compliance with classification objectives shall satisfy the conditions listed below.

5.1.1	A sanitary survey shall be made of each new growing area prior to its approval as a source of shellfish for direct human consumption or for shellfish to be used in a relaying or depuration facility.  The sanitary survey shall be completed according to the guidelines given in section 5.2.

5.1.2	The requirements for a sanitary survey apply to both near-shore and shore-based mariculture operations as well as wild harvest areas.

5.1.3	Existing growing areas that have not been classified will be assessed on the basis of existing data on water quality and related public health information.  Based on this review the Competent Authority shall decide on the sanitary classification of a growing area. Where insufficient data are available to allow an existing growing area to be classified, the collection of additional data will be required.

5.1.4	Stretches of water are classified primarily according to their microbiological quality, though other health risks such as contamination by heavy metals and pesticides, and occurrence of biotoxin producing algae, are considered.  Monitoring actions must take into account the identified risks for a particular area and species.

5.1.5	Shellfish shall not be harvested for the market from a growing area until the sanitary survey has been completed and the sanitary survey report containing the recommended classification and harvesting criteria has been established officially.  Results of microbiological testing of water samples taken during a period of one year from stations (indicated on a map or plan of the growing area) are used for the classification and reclassification of growing areas.

    - The sanitary classification status of production areas shall be reviewed annually taking into account new potential pollution sources and any other developments.

## Sanitary Survey

The sanitary survey is of critical importance in distinguishing acceptable and unacceptable areas for shellfish production.  This section sets forth the survey procedures, the classification scheme, and standards to be applied to those waters suitable for harvest for direct human consumption, those waters containing shellfish that require purification or further processing, and those waters where harvesting is prohibited.

### Establishing sampling stations:

Officials as specified in Paragraph 3.4 may be appointed by the Competent Authority to assist with sampling activities.

#### Land-based mariculture systems

Water samples are to be taken from the source coastal waters at the position of the proposed intake and 500m on either side this point parallel to the coastline. Water taken in for onshore mariculture must comply with the requirements for an approved area (Paragraph 5.2.4). If water is to be treated to conform to these requirements the microbial quality of source water, prior to disinfection, and re-circulated water shall meet, at a minimum, the restricted growing area standards (Paragraph 5.2.5).  Water that does not meet the restricted area standards may not be used for mariculture (Paragraph 5.2.6).

The location of sampling sites for phytoplankton are to be taken from the source coastal waters at the position of the proposed intake and 500m on either side this point parallel to the coastline

#### Ocean-based cultivating/growing areas

The growing area survey in open waters shall take into account the proposed positioning of cultivation structures, or wild harvest sites, and obvious potential pollution sources in accordance with the following directive:

a) Possible point sources (pollution points) established:

Include a sampling station on the boundary of the growing area nearest to such a point taking the predominant circulation patterns into account.  All such possible points must be fixed on the map and numbered with the prefix "PP".

b) Other sampling points for monitoring: It is recommended that one microbiological sampling station is fixed for every 10 ha of production area, taking into account. factors such as the local hydrodynamics. Such points are established and numbered with the prefix "NP" (non pollution point or non-point).

#### Biotoxins and other hazardous substances

Water sampling positions for phytoplankton identification must take local hydrodynamics into account. A single key station may suffice for a particular growing area.

Shellfish flesh may be composited from a number of sampling points for analysis of biotoxins and other toxic and hazardous substances.

### Frequency of Sampling Required

A sample or sampling batch for a particular growing area is considered to include all points (PP's or NP's) which were established as sampling stations by the Competent Authority for the monitoring action required to classify the growing area or tank establishment.  All points are to be included during any one sampling operation.

A minimum of 20 samples from each sampling station shall be required for microbiological classification of new production areas.  The samples are to be taken by Competent Authority-sanctioned personnel (Paragraph 3.4).  Samples shall be taken at a fixed frequency (determined by the Competent Authority) under sufficiently broad environmental conditions to identify possible adverse scenarios. The collection of this information will cover a period of at least 12 months for full classification of an area. An initial period of 3 months shall be used for provisional classification. However, the farmer or harvester must accept the risk that the production area may ultimately prove to be of unsatisfactory sanitary quality for harvest for human consumption.  Harvesting for the market will only be permitted once the full annual survey is completed and the results indicate water of acceptable quality.

If samples cannot be taken on a fixed date (e.g. due to bad weather conditions, problems in getting samples to the laboratory within the prescribed time, etc.), they must be taken as close as possible to the stated date.  The reason for shifting the date must be described in the sampler’s report.

Microbiological samples shall be taken once every two weeks from each sampling point for both provisional and full classification of a growing area.

Where possible, microbiological classification of growing areas is based on analyses of shellfish flesh.  Where the culture species or a suitable alternative (as determined by the Competent Authority) is not available in a new growing area water samples are analyzed for microbial contamination.  In the case of bivalves, it may be necessary to place bags containing the culture species in the growing area to provide flesh for additional testing.

Shellfish flesh shall be sampled twice during the classification period for analyses of heavy metals and other hazardous substances.  One sample shall be taken for radionuclides during this period.  Where the culture species is absent from the production area under investigation, an alternative indicator species may be used as recommended by the Competent Authority.

### Sampling protocol for microbiological parameters of production waters and products

Water must be sampled as described in ANNEX I and submitted to an accredited or officially approved microbiology laboratory.  The five-tube, three-dilution MPN test for faecal coliforms as per Annex 2B of the Bacteriological Procedures of the “Canadian Shellfish Sanitation Program” of 31/03/1992 is to be employed.

Live shellstock, including intravalvular fluids is sampled from each station and prepared as described in the Donovan method for E. coli (ANNEX VII)

Sampling procedures are summarized in ANNEX I.

### Approved areas

An approved area shall not be contaminated with faecal coliforms exceeding the limits given below and shall not contain hazardous concentrations of toxic substances or biotoxins.

Faecal coliform median MPN not to exceed 14/100ml growing waters.

Not more than 10% shall exceed an MPN of 43/100ml growing waters.

As a water sampling scheme may miss occasionally excessively polluted events, it is preferable for shellfish (culture species or alternative, see section 5.2.2) to be sampled and tested.

The tolerance levels for the flesh including intravalvular fluids are:

<230 MPN E.coli coliforms/100g shellfish flesh.

Harvesting may take place at any time in an approved area provided a temporary closure is not in effect due to e.g. oil spills, biotoxin contamination.

### Controlled areas (conditionally approved or restricted):

A conditionally approved area is one subject to intermittent and predictable pollution events but meets the approved area standards for a reasonable length of time.

Harvesting from conditionally approved areas for direct human consumption may only occur when it meets the approved area requirements.  During harvesting from conditionally approved areas, samples for microbiological analyses are to be taken at least once a week to prove the conformance of the water.

A management plan shall be developed for conditionally approved areas that addresses the predictability of the pollution events (See ANNEX II, Paragraph 7).

A restricted area is one in which the sanitary survey indicates a limited degree of microbial pollution.  A conditionally approved area may also be classified as restricted during unfavorable conditions.

Limited pollution for seawater is defined as:

- Fecal coliform median MPN of the water not to exceed 88/100ml.

- Not more than 10% shall exceed a MPN of 260/100ml.

Limited pollution for shellfish meats are given as:

- E.coli  MPN of less than 4600/100g shellfish flesh

No shellfish may be harvested for immediate human consumption from restricted areas at any time.  Shellfish from restricted areas can only be harvested for depuration or relaying.  However, the Competent Authority may consider the issuing of a special permit to harvest shellfish of which the faecal coliform count of the flesh and inter-valvular fluids are below 4600/100g flesh, on condition that it is canned or cooked and frozen in compliance with Section 12.

### Prohibited areas

Shellfish shall not be harvested from prohibited areas for either immediate human consumption or depuration /relaying.  An area will be classified as prohibited when any of the following conditions exist:

- There is no current sanitary survey or annual evaluation report

- The sanitary survey indicates levels of microbial pollution exceeding those given in Paragraphs 5.2.4 and 5.2.5.

- The sanitary survey or other data indicate excessive contamination of shellfish with biotoxins, heavy metals, radionuclides, pesticides or other hazardous chemicals.  Petrochemical contamination is also considered a food hazard.

- Pollution sources may unpredictably contaminate the shellfish.

Areas adjacent to sewage outfalls and other waste discharges of public health significance shall be classified as prohibited.  The size of the prohibited zone shall take account of the pollution source loading, dispersion characteristics of the receiving waters and decay (die-off) rate of the pollutant.

Seed may be taken for on-growing from prohibited areas provided it is cultured in an approved or restricted area for a minimum of 6 months prior to harvesting for human consumption or relaying/depuration.

### Toxic and hazardous substance parameters for shellfish products

#### Limits for environmental toxins

The limits for toxins such as heavy metals, radio-active substances (Cesium 134 and 137), polychlorinated biphenyls and pesticides will be those described in terms of the current national or international legislation [insert appropriate legislation].  These limits apply to the fresh weight, edible portion of the shellfish:

#### Limits for biotoxins

The recommended methods for shellfish toxicity tests are given in Appendix III. No shellfish shall be harvested for direct human consumption if the following regulatory limits are exceeded:

- Paralytic shellfish poisoning (PSP) - 800 g STX eguivalents/kg edible flesh.

- Okadaic acid, dinophysistoxins and pectenotoxins together –160 µg of okadaic acid equivalents/kg edible flesh.

- Yessotoxins – 1 mg YTX equivalents/kg edible flesh

- Amnesic shellfish poisoning (ASP) - 20 mg domoic acid/kg edible flesh.

Methods of analysis for the detection of the above toxins are provided in Annex III.

#### Limits for veterinary drugs

The limits for veterinary medicines are given in [insert relevant legislation].

# MONITORING OF SHELLFISH PRODUCTION AREAS

## Background

A system of sanitary checks will be initiated under the guidance of the Competent Authority for each approved and controlled growing area (including both natural and artificial areas used for mariculture, wild harvest or relaying and depuration) to promote public safety in both local and international markets.  The functions of this program are to:

- Establish compliance with the requirements of this manual concerning microbiological quality (Paragraph 5.2.4 and 5.2.5), toxic and hazardous substances (Paragraph 5.2.7.1) and biotoxins (Paragraph 5.2.7.2) in shellfish intended for direct human consumption or for further processing prior to consumption;

- Provide data for the annual review of the classification status of the production area, i.e. approved, controlled etc.;

- Provide an early warning system for biotoxin control, where relevant, in the interests of public health (and shellfish health and survival in certain cases).

Trained and approved personnel shall assist with sample collection and delivery to approved laboratories for analyses.  A system of sample coding will be implemented such that the laboratories are not aware of the provenance of the samples.

It will be the responsibility of the Competent Authority to co-ordinate the monitoring actions, provide a system of record keeping for the monitoring data, and enforce closures/dictate re-opening of harvesting areas subject to public health considerations.

## Microbiological monitoring

Sampling will be dictated to a certain extent by the findings of the sanitary survey.  For instance, sampling should take into account any meteorological, hydrological or other conditions that may result in a greater risk of fecal and pathogen contamination.  Future developments in the area that may impact on water quality should be addressed as the need arises.

Shellfish grown in controlled areas shall be tested at least weekly for microbial contamination during harvesting, though the management plan for conditionally approved areas may require more frequent testing.  If the sanitary survey indicates a growing area is affected by point sources of pollution, a number of fixed sampling points shall be established including both pollution point and non-pollution point (Paragraph 5.2.1.2) stations.

Approved growing areas shall be tested at least monthly for microbial contamination.  A composite sample of a single species of shellstock intended for next harvest shall be taken.

A minimum of 12 samples must be collected from each station over a 12 month period in approved areas, including both shellfish tissue and growing water where required.  More frequent testing is required in controlled areas (Paragraph 5.2.5). These results will be evaluated by adding the samples to the pre-existing bacteriological results that accurately reflect the current situation.  The annual evaluation shall address at least the last 20 samples for approved areas and 30 samples for controlled areas.

When an epidemiologically confirmed shellfish-borne illness is reported involving two or more persons and implicating a shellfish growing area, the Health official (Environmental health practitioner, Health Officer) responsible for the particular area shall, in consultation with the Competent Authority, promptly:

- Place a ban on harvest from the area

- Detain and recall any remaining shellfish from the area that are in the distribution system

- Review the classification of the growing area and re-classify if necessary

- Conduct appropriate follow-up sampling for biotoxin and sanitary pollution

- If it is determined that the growing area is not the source of the outbreak (e.g. problem caused in handling or distribution) the ban on harvest is removed and original classification status re-instated.

Where a growing area at any time does not comply with the sanitary requirements of its designated classification (Paragraph 5.2.4 or 5.2.5) the following actions must be undertaken by the Competent Authority in collaboration with the relevant health authorities (see flow diagram, ANNEX IV):

- Review all necessary documentation to trace and recall potentially contaminated shellfish products that are in the distribution system

- Effect immediately a temporary closure to harvest from that area, and re-sample that particular sampling point or points, with additional sampling points included.

- Close the growing are to harvesting for direct human consumption and recall contaminated products if, at any instance, a re-test sample fails or a positive Salmonella presence is indicated or limits exceeded for other human pathogens as specified by a national or international authority.

- Keep the growing area closed to harvest until the bacteriological counts show compliance (a minimum of 1 week after re-test sample failure).

- Review the classification assigned to the growing area when sampling indicates an area continues to exceed its current classification limits.

Where an end of the line product fails to satisfy the microbiological criteria for human consumption, the following actions must be taken (see flow diagram, ANNEX IV):

The relevant Competent Authority must investigate the possibility of a problem with handling, distribution and labeling and instigate appropriate corrective actions as required; and

If the problem is not identified as related to handling, distribution and labeling, the course of actions given above in this section come into effect for the implicated growing area.

Microbiologically contaminated products may also be canned or cooked and frozen as per requirements in Section 12, provided the faecal coliform count is lower than 4600/100g flesh and Salmonella is absent.  Shellfish not conforming to the 300/100g flesh limit but which are lower than 4600/100g flesh, may be harvested for relaying or purification in a depuration plant until the animals show compliance with the 300/100g flesh limit.  This option may only be exercised in accordance with special permit conditions issued by the Competent Authority.

## Monitoring of toxic and hazardous substances

Sampling will address variation within a production area and will be conducted annually for heavy metals, PCBs, radionuclides and pesticides on shellfish flesh only.  Sampling for specific contaminants is recommended only when the sanitary survey reveals a potential problem, or if there is concern due to a paucity of data.

Non-compliance at any sampling point will require retesting. If the retest fails, sampling should be expanded to trace the source of contamination.  Growing areas face long-term or permanent closure if the situation cannot be restored.

## Biotoxin monitoring

Biotoxins and biotoxin-producing algae shall be monitored in each growing area in accordance with a Biotoxin Management Plan.  The management plan serves to clearly identify the agencies responsible for and the procedures necessary to undertake the actions listed below:

- Monitor toxin-producing plankton and the geographical distribution thereof on a routine basis.  For the plankton component to act as an early warning system of impending shellfish toxicity, it is essential that a database be constructed relating toxic organism concentration or thresholds to shellfish toxicity.  For this reason it is desirable to perform shellfish toxicity tests in conjunction with plankton monitoring.

- Develop a contingency plan that provides an emergency response when a potential problem is detected.  The plan defines those administrative procedures and resources necessary to:

  - Initiate emergency shellfish and water sampling

  - Close areas and embargo shellfish

  - Prevent commercial harvesting from closed areas

  - Recall shellfish

  - Define criteria for re-opening closed areas.

- Provide assurance that certain shellfish species, or products, can be safely excluded from the contingency plan.  This will require collection of sufficient supporting data and will be reviewed on an annual basis by [insert equivalent of the Molluscan Shellfish Safety Committee ].

### Biotoxin Management Plan (See ANNEX V)

Each growing area management plan shall include a map showing the sampling positions which are to be determined on the basis of “key stations” and “critical species”.  Considering the apparent global trend of expanding distributions of toxic algal species, the Competent Authority will be actively involved in efforts to fully characterize existing as well as newly emerging  toxic species and toxins.

Sampling shall be conducted at differing levels of intensity as determined by the shellfish species of concern, the history of contamination with the biotoxin under consideration, and the geographical area under consideration.

Toxin levels in the edible portions of shellfish provide the present basis for regulatory action.  This shall constitute the whole animal except for scallops when the final product is the adductor muscle (with or without roe) and abalone that are cleaned and eviscerated prior to placing on the market.

#### Routine monitoring phase.

To be conducted uniformly year round unless there is justification (i.e., no harvesting) that a seasonal monitoring plan is sufficient.

In ocean-based harvest areas, water samples for phytoplankton analysis should be collected weekly and delivered to an approved laboratory for phytoplankton identification and enumeration. The frequency may be reduced if a risk assessment on toxic phytoplankton occurrence suggests a low risk of toxic episodes.

In land-based systems a water sample representative of intake water will be used for phytoplankton analyses.

Shellfish samples for each species being harvested or intended for next harvest from each growing area will be collected weekly for toxin analysis.  Where justified by historical data, analysis of a sentinel species may be sufficient for regulatory decisions for other species in the growing area. A composite sample of a single species of shellstock is to be taken.

The frequency of sampling may be reduced in specific areas or for specific species of molluscs if a risk assessment on historical toxin or phytoplankton occurrence suggests a low risk of toxic episodes.

When toxin levels in the indicator species are above regulatory levels, harvesting of the other species is allowed only if further analysis on the other species shows toxin levels below the limits.

Management programs may wish to employ a method for screening shellfish samples for toxin presence prior to utilizing the accepted regulatory analytical method.

Certain growing areas regarded as high risk may be required to test for biotoxins more frequently than specified.

#### Intensive sampling phase

To be initiated following detection of biotoxins in shellfish meats, though still below regulatory limits (Paragraph 5.2.7.2). (NOTE: this does not apply for lipophillic toxins because the method provides only a positive or negative result).  Intensive sampling (at least twice per week) does not apply to areas with a history of low-level contamination with specific biotoxins.  Intensive sampling may also be initiated when toxic phytoplankton are present in the absence of shellfish intoxication.  This will be based on the detection of biotoxin-producing phytoplankton in filter-feeder growing waters or the occurrence of toxic blooms in non-filter feeder production waters.  (NOTE: With experience it may prove feasible to apply a critical concentration for a particular toxic species as the criterion for initiation of intensive sampling).

Routine sampling will be re-established when biotoxin levels indicate safe levels for 2 consecutive samples.

#### Quarantine phase

To be brought into effect immediately following detection of biotoxin in shellfish meats at levels sufficient to cause a public health hazard.  The limits for PSP, DSP (and other lipophillic toxins) and ASP are given in Paragraph 5.2.7.2.

- The Competent Authority will place a ban on harvesting in the area

- The closed status of the area will be communicated to Industry, the relevant Health authority, public, and other affected parties

- Contaminated products will be recalled, embargoed and destroyed under the supervision of an environmental health practitioner or Competent Authority inspector responsible for the area

- The inspectors appointed by the Competent Authority will ensure the embargo is maintained

- The frequency of testing of shellfish meats will be at the Competent Authority’s discretion in consultation with the farm managers.

#### Re-opening phase

A shellfish growing area closed due to biotoxins will only be re-opened to harvesting when the Competent Authority has determined that the criteria justifying this action are met.  Areas will only be re-opened when biotoxin levels are below the regulatory limit for 2 consecutive samples taken at least 48 hours apart.  If available, information regarding detoxification kinetics for individual shellfish species will assist in predicting the expected time for detoxification.

- The re-opened status will be communicated to all relevant parties.

- Sampling intensity following re-opening to harvest will be dictated by toxic algal presence.  This may involve intensive sampling in the continued presence of toxic species or biotoxins in the flesh even though the shellfish have attained sub-quarantine levels of biotoxins.

- Routine sampling will be re-instated once the biotoxin concentration has returned to normal safe  levels for 2 consecutive samples.

# REQUIREMENTS FOR HARVESTING AND TRANSPORT OF LIVE SHELLFISH TO A DISPATCH CENTRE, PURIFICATION FACILITY OR AREA, OR PROCESSING PLANT

## Harvesting requirements

No person shall harvest, handle or transport shellfish for human consumption except according to the requirements of this manual under conditions stipulated by the Competent Authority.

Harvesting techniques must not cause excessive damage to the shells or tissues of live shellfish.

Shellfish harvested and transported on a vessel for more than 6 hours must be shaded from the sun or sprayed with clean seawater or chilled with clean ice or covered with clean wet sacks.

Shellfish not intended for relaying, wet storage or depuration shall be placed under temperature control at 7C or less within 20 hours of harvesting.  Clean ice may be used for this purpose.  Temperature control shall be continuously maintained until final sale of the product to the consumer or until processing. (Except for a maximum period of 2 hours at points of transfer).

Where necessary, shellstock shall be washed using clean seawater or potable water under pressure to remove mud, bottom sediments or seaweed as soon as practicable after harvesting.  Wash water may not be recycled.

Containers for the transport or storage of shellstock must be clean and made from impervious easily cleanable materials.

Bags or sacks may not be reused for shellfish unless they are made from impervious material that can be washed and disinfected prior to reuse.

## Transport and Vessels

Decks and storage areas on vessels shall be designed and constructed to prevent bilge water or polluted water from coming into contact with shellfish.

Where the vessel or vehicle deck is not channeled, graded or adequately drained, the shellstock shall be stored at a minimum height of 100mm off the deck.

Where toilets are provided on a harvest vessel, hand-washing basins must also be provided.  Toilets and hand-washing facilities shall be designed, located and operated to prevent the contamination of growing areas and adjacent waters and be of the type approved by the official inspector.

Human body wastes shall not be discharged from harvest vessels while in, or adjacent to, growing areas.

All land and water transport vehicles used for shellstock transport shall be constructed, operated, cleaned and maintained so as to prevent contamination, deterioration or decomposition of the shellstock transported and the transporter must be in possession of a valid permit enabling the vehicle to transport shellstock.

Refrigeration and freezer-equipped transport units must have calibrated thermostats and accurate indicating thermometers. Refrigerated units must be capable of holding the temp at 7C or less.

All harvesting vessels and road transport vehicles must be inspected at least once annually and approved by the Competent Authority or relevant health authority.

## Documentation and records

A movement document issued by the Competent Authority shall accompany each batch of live shellfish during transport from the production area to a dispatch centre, processing plant, relaying area, depuration plant or wet storage facility. The movement document must contain the following information:

- Document number.

- Identity of harvester and signature.

- Date of harvesting.

- Harvest site and official registration number of production area.

- Shellfish identity (common and scientific names) and quantity.

- Destination and, if applicable, approval number.

- Date and place of receipt.

If harvesting is carried out by the same staff that operate the dispatch centre, processing plant, relaying area, depuration plant or wet storage facility of destination, the Competent Authority may, if satisfied that the requirements concerning gathering and handling are complied with, issue a permanent authorization absolving the harvester from the requirement to use movement documents.

The facility receiving a movement document must keep it available for inspection for a period of at least 12 months.

The harvester must keep a copy on file of all movement documents issued recording all the information contained in the document for a period of not less than 12 months.

The Competent Authority shall keep a copy on file of all completed movement documents issued for a minimum of 2 years.

# REQUIREMENTS FOR RELAYING OF SHELLFISH

## Conditions

Relaying refers to the transfer of shellfish with limited levels of pollution to approved areas for biological purification.  Relaying may be applied to reduce microbial and biotoxin contamination to acceptable levels.  Relaying is not recommended for the reduction of other toxic or hazardous substances.

Relaying operations must be supervised by a Competent Authority inspector or duly authorized official.

Relaying areas must be authorized by the Competent Authority as for a mariculture operation.  Harvesting of shellfish for relaying may only be undertaken with authorization from the Competent Authority.  Permits shall be valid for 1 year.

Permits for relaying shall be subject to the development of an approved operating procedure.

Relaying areas shall be monitored as for other approved growing areas.

Caution must be exercised in relaying of shellfish from mariculture operations to prevent the potential spread of animal diseases.  Assurance of an acceptable disease status may be required.

## Source of shellfish

No shellfish that exceed the contaminant levels for restricted areas (Paragraph 5.2.5) may be relayed.

Live shellfish must be gathered and transported in accordance with Section 7.

Shellfish intended for relaying must be accompanied by a movement document (Paragraph 7.3.)  The conditions of Section 7.3 apply.

## Relaying areas

Relayed shellfish shall be held in the approved or conditionally approved areas (when open) for sufficient time under suitable environmental conditions to complete purification.

Sites within a relaying area must be well marked and separated to prevent mixing of batches.  The “all in, all out” system must be used so that new batches cannot be brought in before the whole of the previous batch has been removed.

## Operating procedures

Each relayer must develop written operating procedures in consultation with the Competent Authority, to provide assurance of end-product safety.  The procedures shall specify the following:

- Source and species of shellfish.

- Contaminant levels of source shellfish and after purification.

- Methods of transport to the relaying site.

- Relevant information regarding the use of a conditionally approved area for relaying.

- Information on the water quality and quality of shellfish indigenous to the relaying area.

- Method of holding shellfish at the relaying site and maintaining identity of individual source lots.

Studies shall be undertaken by the relayer to determine the effectiveness of contaminant reduction with due consideration to species and initial shellfish quality.  Water temperature and other critical parameters for effective purification should be determined for each species where possible.  These environmental variables should be recorded by the relayer when it is known that limiting values may be approached.

The microbiological concentrations in the shellfish shall meet the approved criteria (Paragraph 5.2.4), and biotoxins less than the limits given in Paragraph 5.2.7.2 at the end of the relaying process.

A minimum period of 14 days is recommended when conditions are suitable at the relay site.

The harvester of relayed shellfish shall sign a declaration of compliance with operating procedures prior to harvesting, specifying details pertaining to permits, source growing area, relay area and relay operations.

Batches of live shellfish harvested in a relaying area must be accompanied by a movement document (Paragraph 7.3) during transport to a dispatch centre or processing plant.

## Records

Relayers shall be required to keep complete and accurate records for inspection by the Competent Authority.  This should include the following:

- Results of microbial and/or biotoxicity tests of each lot of shellfish before and after relaying

- The date of harvest and source/quantity of shellfish harvested.

- The period of relay.

- Records of temperature and other critical parameters during relaying.

- The purchaser and quantity purchased.

The Competent Authority shall maintain records of the following:

- The sanitary survey reports and monitoring data for the relaying area.

- Approved procedures for operation of the relaying area.

- Results of product sampling and environmental monitoring by the relayer.

# DEPURATION

## Conditions

Depuration is the process whereby filter-feeding shellfish are naturally cleansed in a purified and controlled seawater environment.  Depuration is intended to reduce the number of pathogenic organisms that may be present in shellfish from moderately polluted areas.  Depuration is neither intended to reduce contamination in shellfish from heavily polluted areas nor to reduce the levels of accumulated toxic substances.

All operations harvesting shellfish for delivery to a depuration plant must be issued with a separate permit by the Competent Authority.

Each depuration plant shall be certified by the local authority as for food premises in terms of [insert appropriate legislation].  Certification of depuration plants shall require:

- Approval of plant design, construction and operation including remodeling.

- Verification of the depuration process by the operator.

Certified depuration plants are to be inspected at least monthly to assure compliance of operating procedures.

The Competent Authority shall analyze plant processing data and other records at least monthly to verify the process and controls are sufficient to meet the end product criteria.

## Process verification

Each depuration plant shall develop an approved depuration process (ADP), drawing on outside expertise as necessary, prior to certification.  A comprehensive set of trials shall be conducted on the effectiveness of plant operations.  The development of the ADP shall take the following critical variables into account:

- Shellfish species and source

- Maximum pre-depuration level of faecal contamination to ensure that end point criteria are consistently achieved during normal operations (not to exceed limits given in paragraph 5.2.5)

- Design construction and operation of the plant with regard to flow rates, loading rates, tank dimensions and spacing of shellfish

- Water quality variables such as temperature, salinity, dissolved oxygen and turbidity. Any seasonal effect must be addressed

- Depuration times

- End point criteria

- Process monitoring

- Plant sanitation.

## Source of shellfish

Only shellfish that meet the requirements for restricted areas (paragraph 5.2.5), at a minimum, may be harvested for depuration.  The acceptable pre-purification levels of fecal contamination shall be established as part of the ADP.

Shellfish must be protected from contamination and physiological stress during harvesting and storage.

The identity of each harvest lot must be maintained and tagged to indicate it is from a restricted area.

Shellfish intended for depuration must be accompanied by a movement document (Paragraph 7.3).

Where necessary, shellfish should be washed with clean seawater or potable water prior to depuration.

Should a purification tank contain several batches of live bivalve molluscs, they must be of the same species and the length of treatment must be based on the time required by the batch needing the longest period of purification.

## Structural requirements

The construction of floors, walls, ceilings and installation of lighting, plumbing and sewage disposal systems must comply with the provisions of the [insert appropriate legislation].

Effective barriers shall be provided to prevent the entry of vermin, animals and birds into the area and above the storage tanks.

Storage tanks and related plumbing shall be fabricated of non-toxic materials and shall be easily cleanable.  The construction of tanks shall allow for easy access for cleaning and inspection and for self-drainage.  The design and installation of plumbing shall allow for regular cleaning and sanitizing to prevent contamination of the tanks and water.

Shellfish containers (where used) shall have an impervious mesh-type construction that allows adequate flow of water to all shellfish in the containers.  They must be placed in tanks in such a manner that sufficient clearance is provided between the shellfish containers and bottoms and sides of the tanks.

The site, facility and plant shall be evaluated and approved annually by the Competent Authority in conjunction with the Regulatory Authority and relevant Health Authority, taking into account the records of water officially tested.

## Process water quality and operation

Process water must meet the requirements for sanitary quality and normal physiological activity of the shellfish species.  Critical parameters are given below:

- Treated water on entry to a depuration unit shall contain no detectable fecal coliforms.  Pre-treated water must not exceed 88 faecal coliforms/100ml and not more than 10% exceed 260/100ml.  Water treatment must not leave residues that will interfere with the depuration process or product quality, and pH must be in the range 7.0 - 8.4.

- Temperature, salinity, turbidity and dissolved oxygen limits for normal physiology of the particular species are to be established for the ADP.  Dissolved oxygen greater than 50% saturation and turbidity less than 20 nephelometric turbidity units is recommended.

- Operational procedures shall promote water quality uniformity within depuration units.  Consideration must be given to flow rates, tank loading rates and shellfish spacing as established in the process verification study.  A minimum flow rate of 107m3/m3 of shellfish is recommended.

The minimum depuration time is 48 hours.

Different lots of shellfish must not be mixed in order to preserve identity and integrity.

After completion of purification, the shells of the live shellfish must be washed with clean seawater or potable water and damaged individuals culled.

## Sanitation of systems

Adequate facilities must be provided for the proper washing, cleaning and sanitizing of equipment, utensils and the building.

All equipment and utensils used in the plant must be maintained in a clean condition.

All shellfish and sea water contacting surfaces must be cleaned and sanitized after each use as indicated below:

- Process units, trays, containers and racks shall be cleaned, sanitized and rinsed before each depuration operation.

- The process unit including the system piping network shall be cleaned, and where possible, sanitized after each batch.

- The seawater storage tanks shall be cleaned and sanitized on a regular basis.

- The washing, culling, sorting and pre-process storage areas shall be thoroughly washed and sanitized after each use.

## Quality assurance

Depuration plants must have their own laboratories or secure the services of an outside laboratory approved by the Competent Authority to assess the effectiveness of the process and to establish that the end product meets the approved criteria.

Shellfish from single process batches may not be released to market unless laboratory results confirm that the end product meets the fecal coliform standards for approved areas (Paragraph 5.2.4).

When water treatment systems are being used, samples should be taken frequently to monitor effectiveness of the treatment units.

In the event of a process batch failing to meet the release criteria, the operator shall notify the Competent Authority and an investigation shall be conducted into the cause for failure.  The following actions may be required through consultation with the local health authority, regulatory agency, or the Competent Authority, as relevant:

- Destruction of the shellfish.

- Non-food use of the shellfish

- An additional depuration cycle

- Modification of the ADP.

Every batch of purified shellfish must be provided with a label certifying that all of its contents have been depurated.  The following minimal information shall be included:

- Identity of depuration plant operator

- Depuration cycle number and date

- Identity of harvest area

- Type and quantity of shellfish.

## Records

Operators shall be required to keep the following complete and accurate records:

- Information that will allow a batch of depurated shellstock to be traced back to the process batch, harvest area, harvest date and harvester and corresponding movement document numbers

- Results of product sampling and critical parameters (records maintained for at least 2 years)

- Current copy of the plant operating procedures

- Dispatch details of consignments after purification.

The Competent Authority (or local regulatory authority) shall maintain records of the items listed below:

- The sanitary survey reports and data for the harvest areas.

- The pre-certification depuration process verification data.

- The monthly sanitary inspection reports for the plant.

- The monthly analyses of the process data.

- An evaluation report verifying that the operators records have been reviewed and the process been evaluated.

# WET STORAGE

## Conditions

Wet storage refers to the temporary storage of shellfish in near-shore waters or onshore tanks prior to preparation for sale. Wet storage is not intended for purification therefore all controls pertaining to shellfish for direct human consumption should be applied.

Wet storage premises must be certified by the local authority as for food premises in terms of [insert appropriate legislation].  Wet storage sites or facilities must undergo an annual evaluation by the Competent Authority in co-operation with the relevant health authority as appropriate.  This evaluation shall consider the following:

- The sanitary survey of the nearshore site and monitoring records

- The design and operating procedures for the onshore storage facility including the quality of source water and details of any water treatment system

- Plans for remodeling

Caution must be exercised in wet storing shellfish from mariculture operations or wild fisheries to prevent the potential spread of animal diseases. Assurance of an acceptable disease status may be required.

## Source of shellfish

Shellfish for wet storage shall be harvested only from approved or conditionally approved growing areas or taken from a certified depuration plant.

Shellfish delivered to a wet storage facility must have been handled, transported and held in such a manner as to prevent deterioration and contamination.

Shellfish from different harvest areas shall be wet stored separately.

Shellfish intended for wet storage must be accompanied by a movement document (Paragraph 7.3).

## Structural and design requirements

As for depuration (Paragraph 9.4).

## Water quality

Shellfish shall be washed with clean seawater or potable water and culled to remove dead animals if necessary prior to wet storage.

Near-shore areas for wet storage must meet the approved or conditionally approved criteria (Paragraphs 5.2.4 or 5.2.5).

Process water in onshore systems must not negatively affect the sanitary quality of the stored shellfish or result in physiological stress that may lead to death.

Water of approved growing area status may be used in an onshore facility without disinfection provided the system operates on a continuous flow-through basis and the near shore source water meets the approved area bacterial criteria at all times shellfish are being held for direct marketing.

In-water or land-based wet storage facilities must conduct monthly microbiological testing or secure the services of an approved outside laboratory to provide confirmation of approved water status. Faecal coliforms in the source waters must conform to the approved limits (Paragraph 5.2.4).

Re-circulating systems or systems using water of a quality inferior to the approved water criteria must be treated.  Source seawater prior to treatment may not exceed a median of 88 fecal coliforms/100ml and not more than 10% exceeding 260/100ml for any sample point.

Treated water entering wet storage tanks shall have no detectable levels of total coliform bacteria.

The operator of the facility shall conduct a study on the effectiveness of the disinfection process as assurance that the system will consistently supply water free of total coliform bacteria under normal operation.  Samples of treated water entering the storage system shall be taken at a minimum frequency of 3/day over a period of 5 days.  Additional samples (1/day) shall be taken of untreated source water.  Any positive sample for total coliforms in treated water shall require corrective procedures and re-evaluation of treatment effectiveness.

The treatment process shall not leave any residues that are not “Generally Recognized As Safe” (GRAS) or that may interfere with the process.

The operator shall have routine microbial testing conducted at least weekly for systems using treated water.  In the event that a single sample contains detectable total coliforms, daily testing shall be immediately initiated until the problem is identified and rectified.

Turbidity is recommended to not exceed 20 nephelometric turbidity units where UV light is used for disinfection.  Treatment effectiveness shall be confirmed whenever new UV lamps are installed.

Salt added to increase salinity or produce synthetic seawater must be food-grade salt.

## Records

The following records shall be maintained by the operator:

- Information that will enable each lot of shellstock to be traced to the wet storage facility and classified growing area;

- Records of water sampling and other tests as may be required (minimum of 2 years).

Live shellfish shall be labeled as described in Paragraph 11.2 during transport and distribution until retail sale.

# REQUIREMENTS FOR DISPATCH CENTERS

## Receiving and storage

Dispatch centers must be certified according to [insert appropriate legislation] and must be inspected at least once annually and approved by a Competent Authority inspector or relevant Health official.

The premises and hygienic standards must comply with the [insert appropriate legislation].

Only batches of live shellfish accompanied by a movement document (Paragraph 7.3) shall be accepted at a dispatch center.  Shellfish must have been harvested and transported according to the requirements of this manual (Section 7).

In any sorting or storage area, live shellfish must be kept at a temperature that does not adversely affect their quality and viability.  Live shellfish intended for the market in a live chilled state must be stored and transported at a temperature of 7C or colder. Temperature control must be put in place within 20 hours of harvest.

The room must be vermin proof, have vermin-proof doors and have impermeable structures to prevent the shellstock from coming into direct contact with the floor.

No chemicals that may contaminate the live shellfish may be present in the room used for sorting or storing.

Shellfish from different production areas must be kept sorted and packed separately so as not to loose identity.

## Marking of consignments and records

All parcels in a consignment of live shellfish shall bear a label so that the original dispatch center may be identified at all times during transport and distribution until retail sale. The label shall contain the following information in addition to other labeling requirements specified in the [insert appropriate legislation] or importing country regulations:

- Dispatch establishment number, name and address

- Date of harvest (day, month year)

- Date of packaging (day, month, year) and batch code reflecting origin of product

- Production method, commercial designation and species name (e.g. Cultivated abalone – Haliotus midae)

- Requirements for storage prior to use by consumer (on main panel) and the warning: These animals must be alive when sold (or date of durability)

- Net mass in kilograms

- Product of the [insert country of origin].

The label must be durable and waterproof and the information presented must be legible and indelible.

A person operating the dispatch centre must keep a record of each consignment for a period of not less than 1 year to enable products to be traced and recalled if necessary.

If shellfish are unwrapped and subsequently re-wrapped, handled or further processed in another establishment, the latter establishment must apply its own label to the product and maintain adequate records of origin and destination for 1 year.  The label must include, in addition to that set out in this section, details of the original dispatch centre and re-packaging details.

## Transport from a dispatch center

Consignments of live shellfish intended for human consumption must be transported wrapped in sealed parcels until offered for sale to the consumer or retailer.

Live shellfish must be transported and distributed using closed vehicles or containers which maintain the product at a temperature which does not adversely affect quality and viability.  Live shellfish intended for the market in a live, chilled state must be brought to a temperature of 7C or less before leaving the centre. This temperature shall be maintained during transport and storage.

Packages containing live shellfish must not come into direct contact with the vehicle floor and must not be transported with other products that might contaminate them.

Ice used for temperature control must have been made from potable water or clean seawater.

# CANNING OR COOKING AND FREEZING

## Requirements for processing establishments

Processing may only be conducted in establishments issued with a permit by the Competent Authority in terms of the [insert appropriate legislation].  Permits are subject to prior certification by the local health authority or the Competent Authority.

Where any processing is conducted (such as shucking, cooking, freezing, canning, etc.), the premises must comply with the requirements in terms of the [insert appropriate regulations].

Only batches of live shellfish accompanied by a movement document (Paragraph 7.3) shall be accepted at a processing establishment. Shellfish must have been harvested and transported according to the requirements of this manual.

Shellfish shall be protected from heat and contamination and kept alive, where possible, during transport to a processing establishment.  Shellfish must have been harvested and transported according to the requirements of this manual (Section 7).

Where shellfish, other than abalone, cannot be kept alive, they shall either be frozen or kept on ice for no longer than 2 days prior to processing.

Abalone shall be kept alive until immediately before processing.

## Canning in hermetically sealed containers

Shellfish may be subjected to sterilization in hermetically sealed containers at a canning factory approved by the Competent Authority and under supervision of inspectors of that Competent Authority.  Each batch so processed must be identifiable as to the harvester and harvesting area.  The end product must comply with the requirements in terms of the [insert appropriate legislation]

## Cooking, cooling, packing and freezing

The handling of the raw material and its preparation, cleaning, cooking, shucking, packing, freezing and storage must be conducted in premises complying with the requirements of the [insert appropriate specifications]. Shellfish not from approved areas but for which the faecal coliform count is less than 4600/100g flesh must be cooked prior to packing and freezing.  The following heat treatments are required:

- When immersed in boiling water, the internal core temperature of the flesh of the mollusc must be maintained for 90 seconds at a temperature of no less than 90C

- Cooking may be conducted at a temperature of 120 - 160C at a pressure between 196 kPa and 490 kPa for the time necessary to comply with the requirements given above.

- After cooking the shellfish must be cooled to below 10C as soon as possible and to below 4C within 3 hours of cooking.  Where ice or water is used for cooling, the ice or water must comply with the requirements for potable water specified in the latest version of [insert appropriate regulation].  The fish must be frozen to a core temperature below -20C after packaging at the minimum freezing speed required in terms of the [insert appropriate specifications]

- The product shall comply with the microbiological standards for cooked frozen marine molluscs specified in the [insert appropriate regulation].

# DEFINITIONS

Acceptable:

Acceptable to the competent authority for the approval and licensing of molluscan shellfish growing and harvesting waters and for the competent authority inspecting and certifying such product for export.

Adverse pollution conditions:

Conditions determined by changes in meteorological, hydrographic, seasonal and point source pollution conditions that have been historically demonstrated to unfavorably impact on a particular growing area.  Examples are unusual climatic conditions, long periods without rain, unusually hot temperatures, consecutive days of light rainfall, heavy rainfall, tidal effects, salinity and wind effects.

Approved areas:

The classification by the Competent Authority of a growing area where shellfish may be harvested for direct sale at any time outside of temporary closures.  The classification of an approved area is determined through a sanitary survey conducted by an official, authorized by the Competent Authority in accordance with paragraph 5.2.  An approved area may be temporarily closed to harvesting, e.g. when a flood, storm or marine biotoxin event occurs.

Central file:

The file system maintained by the persons responsible for management of this program at the Competent Authority.

Clean ice:

Ice made from potable water or clean seawater and that has been stored hygienically prior to use.

Clean seawater:

Water that meets the approved area microbial requirements and does not contain toxic or objectionable substances at levels that pose a public health risk or impair the taste of the shellfish.

Closed area:

A growing area where the harvesting of shellfish is temporarily or permanently not permitted.

Competent Authority:

The central authority competent for the organization of official controls or any other authority to which that competence has been conferred.

Conditionally approved area:

The classification by the Competent Authority of a growing area that meets the approved area criteria for a predictable period.  The period is conditional upon established performance standards specified in a management plan.

Controlled area:

A growing area where there is a temporal control over shellfish harvesting (conditionally approved areas) or a purification or processing requirement of the harvested shellfish (restricted areas).

Depuration:

The process of using a controlled clean sea water system to reduce to levels of microbial contaminants in live shellfish.

Depuration plant:

A licensed establishment for purifying shellfish according to an approved depuration process.  It comprises one or more depuration units.  A depuration unit is a tank or series of tanks fed by a single process water system.

Dispatch center:

Any installation for the reception, washing, cleaning, grading and packaging of live shellfish fit for human consumption.

Establishment number:

Refers to the official approval number for a packaging or processing facility.  This number may also refer to a permit number issued by the Competent Authority for a specific cultivation area, relaying area, depuration plant or harvester.  The establishment number for packaging and processing is obtained from the Competent Authority.

Growing area (cultivating or production areas):

An artificial or natural seawater or estuarine system that supports or could support the propagation of live shellfish.

Harvester:

A person who takes shellfish by any means from a growing area.

Inspector:

Any control officer, inspector, environmental health practitioner or health officer appointed in terms of the [insert appropriate legislation].

Lot of shellfish (or batch):

Shellstock harvested from a particular identifiable area at a particular time (i.e. no more than one day).

Mariculture:

For the purposes of this manual mariculture refers to the controlled production of molluscan shellfish in natural and artificial seawater systems destined for the market as a foodstuff.

Marine biotoxins:

Poisonous compounds accumulated by shellfish feeding on toxin-producing algae or cyanobacteria, or on seawater containing toxins produced by such organisms.

Molluscan Shellfish:

For the purposes of this manual, applies to all bivalve molluscs including Pectinidae as well as marine gastropods but excluding octopus and squid.  (Where the word "shellfish" appears in the text, molluscan shellfish is meant).

Molluscan Shellfish Safety Committee (MSSC):

A group that provides a national forum for all involved in the production and placing on the market of bivalve molluscs to discuss the safety of the product and the management of the industry from a consumer protection perspective.

Person:

An individual, partnership, corporation, association or other legal entity.

Point source (of pollution):

A discernible single source such as any pipe, ditch, channel, tunnel or conduit that carries pollution.

Process batch:

A quantity of shellfish used to fill each separate depuration unit.

Process water:

Seawater in depuration tanks during the time that the shellfish is being depurated, or the water used in a tank system where molluscan shellfish are cultivated or the water in wet storage tanks during the time the shellfish is being wet stored.

Processor:

A person who physically or chemically treats, or shucks, packs or repacks shellfish.

Product recall:

The removal of unsafe food from the distribution chain extending to food sold to consumers and therefore involving communication with consumers.

Product withdrawal:

The removal of unsafe foodstuff from the distribution chain, not including food sold to the consumer.

Prohibited area:

A growing area where there is no current sanitary survey or where the sanitary survey or other monitoring program indicates that faecal material, pathogens or toxic substances may reach the area in excessive concentrations.  Any taking of shellfish for human consumption from such area is prohibited.

Relaying:

The transfer of live molluscs to a growing area of approved status to facilitate the natural biological cleansing of microbiological contaminants and/or biotoxins.  The transfer of shellfish to a different area for further growth or fattening is not included.

Regulatory Authority:

An independent third party that the Competent Authority has delegated certain control tasks.

Restricted area:

A growing area classified by the Competent Authority as an area from which shellfish may be harvested only by special permit.  Shellfish from restricted areas may be subjected to an approved purification process such as relaying or depuration.

Sampling Officer:

A person appointed by the Competent Authority to take water and shellfish samples and submit them to an accredited laboratory (approved by the Competent Authority) for testing according to the requirements of this manual.

Sanitary Survey:

The evaluation of all actual and potential pollution sources and environmental factors that may affect shellfish growing water quality.

Shellstock:

Shellfish in the shell.

Shoreline Survey:

A survey of the shoreline of the growing area catchment conducted by an officer authorized by the Competent Authority according to requirements in Appendix II.

Transaction Record:

A form used to document each purchase or sale of shellfish at the wholesale level.

Treated water:

Seawater used in a depuration or wet storage facility that has been disinfected by either UV, ozone, chlorine/hypochlorite, or iodophor treatment.  Treated water must contain no detectable coliforms after treatment.

Wet Storage:

The temporary storage of shellfish harvested from approved production areas.

ANNEX I:  SAMPLING OF SHELLFISH AND WATER

In situations where a localized production area in open waters is utilized for harvest by a number of different permit holders, some monitoring (sampling) efforts may be combined as advised by [insert agency name here]

Shellfish samples for faecal coliforms and biotoxin analyses should comprise stock close to market size.

1	Shore-based mariculture systems:

1.1	Filter feeders - samples for microbiological examination are to be taken of:

shellstock within the grow-out units.

1.2	Non-filter feeders - samples for microbiological examination are to be taken of:

shellstock within the grow-out units, as well as,

the intake water to the farm.

1.3	The daily seawater samples for algal identification are to be taken from a position representative of the intake water.

1.4	A composite shellfish sample from the grow-out tanks/ponds will be required for tests on other hazardous and deleterious substances.

2	Cultivation areas in the near-shore environment:

2.1 	Filter feeders - samples for microbiological examination are to be taken from shell stock within the growing area.

2.2	Non-filter feeders - samples for microbiological examination are to be taken of:

shellstock within the growing area, as well as,

ambient water.

2.3	Water samples for algal identification shall be taken from positions that provide adequate early warning of the presence of harmful algal species.  [insert agency name here] will advise on sample station positioning and method of collection.

2.4	A composite shellfish sample will be required for tests on other hazardous and deleterious substances.  Where contamination may be expected from an identifiable point source, an additional sample or samples shall be taken in proximity to the source.

3	Shellfish samples:

3.1	A representative and sufficient sample of shell stock including intravalvular fluids and free of open or cracked shells is collected.  The following sample sizes are recommended:

Mussels 	15 - 30

Oysters and clams	10 - 15

Abalone and scallops	5 – 10

3.2	Shell stock is collected in clean, sterile, waterproof, puncture resistant containers.

3.3	Separate samples are to be collected for analysis of faecal coliforms and for analysis of biotoxins.

3.4	The sample is labeled with the collector’s name, type of shell stock, the source or harvest area code, time and date.

3.5	Samples for microbial testing are maintained in dry storage between 0C and 10C until examined - as soon as possible after collection but not exceeding 24 hours.  Samples should not be frozen.

3.6	Samples for biotoxin testing should be kept chilled during same-day delivery to the analytical laboratory. Shell stock should be frozen for longer-term storage.

3.7	Samples for analysis of radionuclides and metals are to be frozen for delivery to the laboratory.

4.  Seawater samples for microbial examination:

4.1	Samples are collected in clean, sterile, watertight glass or polypropylene containers of sufficient size to hold a minimum of 100 ml with a head-space for shaking.

4.2	Samples are identified with the collector’s name, source or harvest area code, time and date of collection.

4.3	Samples shall be maintained at 0C - 10C until examined - as soon as possible after collection but not exceeding 24 hours.

5.  Seawater samples for algal identification:

5.1	Samples are collected in clean, watertight containers of sufficient size to hold 100 ml with a headspace for shaking.

5.2	Samples are identified with the collector’s name, harvest area, time and date.

5.3	Samples are preserved with buffered formalin to a final concentration of 1%.

ANNEX II:  MINIMUM REQUIREMENTS OF THE SANITARY SURVEY REPORT

The following provides an outline of the many factors to be considered in performing and reporting on the sanitary survey as required in Section 5.2.  These guidelines act as a checklist and provide a model for the structure of the report.

1.	Summary

Provide a synopsis of the results of the sanitary survey and recommendations for the particular growing area under investigation.

2.	Background information

2.1	Motivation for the study.

2.2	General description of growing area - including maps and, where available, aerial photographs.

2.3	Resources to be harvested - specifying shellfish species, location within the growing area and abundances.

2.4	Harvest practices - methods, seasonality, landings (previous and projected) and intended use of harvested shellstock, i.e. immediate human consumption, processing, purification or wet storage.

2.5	History of growing area classification:

Summary of sanitary survey history

Previous classification - including maps and photographs.

3.	Pollution source (shore line) survey

3.1	Personnel and procedures - description of plan for shoreline pollution source survey and methods of data collection.

3.2	Summary of pollution sources and location - including maps of major sources of actual or potential pollution.

3.3	Identification and evaluation of pollution sources.  All actual sources of pollution must be classified as either a direct impact (discharges directly into growing area) or indirect impact (discharge which is advected or mixed into the growing area from a distant source).  The volumes of the different discharges should be quantified where possible.

Domestic wastes - include maps and discussion on use of septic tanks in the catchment area and sewage treatment facilities and outfalls.

Storm water - information on the nature (combined) and conduiting (drainage ditches, pipes and runoff).

Agricultural waste from farms, feedlots and slaughterhouses.

Industrial wastes.

Wildlife areas - unfenced access of animals to growing areas.

Radionuclides.

Marinas.

Minor sources such as boats birds and seals.

4.	Hydrographic and meteorological characteristics.

4.1	Physiography - physical description of water body including chart of depth contours.

4.2	Tides - full description of type, range and tidal exchange rates.

4.3	Currents - type of currents (tidal, wind driven etc.) and dispersion characteristics.

4.4	Waves - heights, frequency of storms and role in sediment re-suspension.

4.5	Rainfall - provide a summary of last 5 - 10 years rainfall figures, showing seasonal variation and frequency of significant rainfalls.

4.6	Winds - provide summary wind data for the last 5 - 10 years on strength, direction and seasonality.

4.7	River discharges - volumes and seasonality

4.8	Summary discussion on actual or potential effects of transport (water borne or air borne) of pollutants to the growing area.  Include discussion on physical dispersion and dilution of pollutants.

5.	Water quality studies.

  - Sampling plan, taking potential pollution sources into account.

  - Map showing sampling stations specifying whether sampling is for water and/or shellfish.

5,3	Description of sample collection and analytical procedures.

5.4	Microbial data analysis and presentation.  Present data and statistical analyses in table form indicating compliance with criteria given in Section 4 and classification of individual sample stations.

5.5	Assessment of levels of toxic and hazardous substances in shellfish.

5.6	Assessment of risk imposed by biotoxin producing phytoplankton.

5.7	Inter-relationship with physical forcing factors.  Discuss how meteorological and hydrodynamic conditions affect actual or potential pollution sources and their impact on water quality.  The discussion must address the following:

Effects of meteorological and hydrodynamical factors on pollution sources.

Causes of adverse pollution conditions.

Potential pollution associated with seasonal events such as holidays, festivals etc.

Explanation for the variability in the data.

6.	Recommended classification.

Classification of the growing area indicated on a chart/map showing closure lines and separation of various classifications where applicable.

7.	Management plans.

Management plans for areas classified as conditionally approved shall be included in the sanitary survey.

7.1	The plan shall include a description of predictable pollution events that cause closure.  Information on wastewater treatment, environmental effects and other events shall be included as relevant:

7.1.1	Wastewater treatment facility.  The performance standard is based on:

Peak effluent flow.

Bacteriological, chemical and physical quality of the effluent.

Bypasses.

Design, construction and maintenance to minimise mechanical failure or overloading.

Monitoring of wastewater treatment efficacy and feedback system in the case of inadequate treatment.

7.1.2	Meteorological and hydrodynamical events - discussion of the specific events that cause closure, their predictability and frequency of occurrence.

7.1.3	Other events such as marina openings and closures, bird migrations, holiday seasons etc.

7.2	Implementation of conditional area closures.

7.2.1	Notification of management plan violations.  Identify agency or agencies responsible for notifying an inspector of such violations, the procedures for prompt notification, and response time between violation and notification.

7.2.2	Implementation of a closure.  Identify the response time between notification of a management plan violation and legal closure.  Detail means by which Industry and surveillance personnel are notified.

7.2.3	Enforcement of closure.  Identify agency responsible and response time between legal closure and patrol agency notification.

7.3	Criteria for reopening a conditional area after a pollution event.  M&CM shall establish the following control elements to define reopening criteria:

Procedures to determine that the pollution event has ended.

Physical flushing time, i.e., time for area to exchange a sufficient volume of water to disperse/assimilate the pollutant load.

Shellfish feeding activity is sufficient to promote natural cleansing.

Time after flushing required for shellfish to naturally cleanse themselves.

7.4	Synopsis of the effectiveness of closure and policing procedures and details of the co-operation between different agencies.

8. 	Recommendations.

8.1	Details of monitoring schedule for microbial indicators and toxic and hazardous substances that will be used in the annual reassessment of growing area classification.

8.2	Monitoring actions for biotoxins.

  - Provide suggestions for future work.

ANNEX III: RECOMMENDED METHODS FOR THE ANALYSES OF BIOTOXINS IN SHELLFISH MEATS

| BIOTOXIN | TEST METHOD* | STANDARDS |
| --- | --- | --- |
| Paralytic Shellfish Poisoning (PSP) | Mouse bioassay according to AOAC, 1995 | <0.8 mg total saxitoxin/ kg edible flesh. |
| Diarrhetic Shellfish Poisoning (DSP) and other lipophillic toxins | Yasumoto et al., 1978 | Two out of three mice dead within 24 hours |
| Amnesic Shellfish Poisoning (ASP) | Canadian HPLC-UV method for domoic acid according to Quilliam et al.,1995 | <20 mg domoic acid/ kg edible flesh |

* Alternative testing methods may be used as described in the text below

Paralytic Shellfish Poisoning (PSP)

The current AOAC (1995) bioassay method used for paralytic shellfish poisoning (PSP) toxins will be the basis of regulatory decisions unless alternative procedures as described above can be justified.

A screening procedure can be used to guide the extent of bioassay usage, but at present, cannot replace the bioassay completely.  Several different testing methods have been shown to provide rapid and accurate results for PSP toxins.  These include the JELLETT Rapid Test for PSP (Rayfuse et al., 2001; Laycock et al., in press), and the receptor binding assay method as described by Doucette et al, 1994.  Shellfish samples can be analyzed with these screening methods and those with positive results for PSP toxins should then be analyzed with the mouse bioassay or other methods used for regulatory decision-making.  Before relying solely on these screening methods, a validation study must be conducted using concurrent analyses of multiple samples representing a diverse set of conditions.  These comparative data will be needed to convince importing countries or organizations that the screening procedure is valid and safe.

Diarrhetic Shellfish Poisoning (DSP) – or other lipophillic toxins

A single mouse bioassay involving acetone extraction can be used to detect okadaic acid, dinophysistoxins, pectenotoxins and yessotoxins. This assay may be complemented if necessary with liquid/liquid partition steps with ethyl acetate/water or dichloromethane/water to remove potential interferences. Three mice should be used for each test. The death of two out of three mice within 24 hours after inoculation into each of them of an extract equivalent to 5 g of hepatopancreas or 25 g whole body should be considered as a positive result for the presence of one or more of the toxins mentioned above at levels above those established in EC Decision 2002/225.

A series of methods such as high performance liquid chromatography (HPLC) with fluorimetric detection, liquid chromatography (LC)-mass spectrometry (MS), inmunoassays and functional assays such as the phosphatase inhibition assay can be used as alternative or complementary methods to the biological testing methods, provided that either alone or combined they can detect at least the following analogues, that they are not less effective than the biological methods and that their implementation provides an equivalent level of public health protection:

okadaic acid and dinophysistoxins: an hydrolysis step may be required in order to detect the presence of DTX3

pectenotoxins: PTX1 and PTX2,

yessotoxins: YTX, 45 OH YTX, homo YTX, and 45 OH homo YTX,

azaspiracids: AZA1, AZA2 and AZA3.

If new analogues of public health significance are discovered they should be included in the analysis. Standards will have to be available before chemical analysis will be possible. Total toxicity will be calculated using conversion factors based on the toxicity data available for each toxin.  The performance characteristics of these methods should be defined after validation following an internationally agreed Protocol (e.g. European Commission Decision  2002/225/EC)

Amnesic Shellfish Poisoning (ASP)

The total Amnesic Shellfish Poison (ASP) content in the edible parts of molluscs (the entire body or any part edible separately) should be determined using the HPLC-UV method for domoic acid (Quilliam et al.,1995).  Because of the interest in consumption of whole and/or roe-on, specific guidelines have been developed that provides sampling and analysis criteria for scallop species (EC Decision 2002/226).

A screening procedure can be used to guide the extent of HPLC analysis.  Several different testing methods have been shown to provide rapid and accurate results for ASP toxins.  These include the JELLETT Rapid Test for ASP (Rayfuse et al., 2001; Laycock et al., in press), and the receptor binding assay method as described by Van Dolah et al., 1994.  Shellfish samples can be analyzed with these screening methods and those with positive results for ASP toxins should then be analyzed with HPLC or other methods used for regulatory decision-making.  Before relying solely on these screening methods, a validation study must be conducted using concurrent analyses of multiple samples representing a diverse set of conditions.

ANNEX IV:  PLAN OF ACTION FOLLOWING NON-COMPLIANCE WITH MICROBIOLOGICAL LIMITS FOR SHELLFISH

End of line product exceeds microbiological tolerance limits

Shellfish sampled from production area exceeds microbiological limits

Problem implicates a

Problem identified in

production area

handling, distribution

or labeling

•

Trace and recall potentially

contaminated

Corrective action by

authorized health

shellfish/product

officer

•

Temporary closure of

production area by  Authority

Additional sampling on site

Unacceptable

Acceptable

Re

-

open

production

Close for a

minimum

area

of 1 week

Unacceptable

Acceptable

Area remains

closed*

*

Re

-

classify area in the case of continued failure to meet microbiological limits

ANNEX V:  PLAN OF ACTION WHEN BIOTOXINS ARE DETECTED IN SHELLFISH

Biotoxin detected in molluscan shellfish flesh in cases where there is no history of low level toxin content.

Daily phytoplankton samples analyzed

Regulatory limit continues to be exceeded

Biotoxin not detectable

Area remains closed

Discretionary sampling regime continues

Non filter feeders

Filter feeders

Biotoxin present

Regulatory limit is no longer exceeded

Area reopened once 3 consecutive samples fall within the regulatory limit

Post harvest

Close area

Regulatory limit is exceeded

Biotoxin undetectable for  3 consecutive weeks

Biotoxin increasing or erratic

Weekly sampling is required to monitor the biotoxin levels

Review phytoplankton samples data

Return to pre-detection sampling regime

Daily sampling is required to monitor the biotoxin levels

Biotoxin undetectable for 3 consecutive days

Pre-harvest

Regulatory limit

is not exceeded

Area remains open to harvest but additional testing is required

Close area, recall, embargo and destroy toxic product

Inform:

Appropriate  Authorities

Discretionary sampling regime is implemented*

Biotoxin increasing or erratic

*Frequency of sampling is at farm manager’s discretion, but no more than one sample may be submitted per day.  Multiple samples on the same day will be considered one sample.

ANNEX VI:  SUMMARY OF DOCUMENTATION/LABELLING REQUIREMENTS DURING TRANSPORT OF LIVE MOLLUSCAN SHELLFISH

1.  A movement document (Paragraph 7.3) must accompany batches of live shellfish transported prior to placing on the market unless the same staff operates the facility/relaying site of destination (Paragraph 7.3).  A movement document identifies the production area where the shellfish were harvested.

2.  A label (Paragraph 11.2) is required for all batches of live shellfish where the destination is a retailer or consumer.  This label allows the dispatch centre of origin to be identified.

3.  Depurated shellfish must be provided with a label certifying that all live shellfish have been purified (Paragraph 9.7).

Dispatch Centre Processing Plant Wet Storage

Movement document

Purification certificate

Relaying

area

Depuration Plant

Harvest

Movement document

Label

(live products)

Market

4.  When exporting live shellfish the requirement for supporting documentation can be extensive (e.g. air waybill, certificate of origin, commercial invoice, shippers export declaration, shippers certification for live animals (IATA), insurance certificate, veterinary certificate and CITES certificate).  From a public health perspective, some countries (e.g. Commission Decision 96/333/EC) may require that each shipment of seafood products is accompanied by a numbered sanitary/health certificate certifying the product meets certain standards.  Such requirements generally exist where a specific decision has not yet been adopted by the destination country.  A single certificate may be issued for several containers of the same product considered to be a single lot.

ANNEX VII:  DONOVAN METHOD FOR THE EXAMINATION OF SHELLFISH FOR Escherichia coli

1

1    Donovan Method for the Examination of shellfish for Escherichia coli

The numbers of Escherichia coli in live bivalve mollusks are estimated as a marker of fecal contamination in shellfish flesh. This allows harvesting areas to be classified and is used to monitor the quality of the marketed product

1.1 Sample size

Oysters and clams 10 -15

Mussels 15 -30

Cockles 30 -50

1.2 Sample transport

Deliver samples to the laboratory as soon as possible. Use a cool box with freezer packs to keep temperature near 4°C, but do not allow direct contact between samples and freezer packs. No more than 24 h should elapse between sample collection and start of tests.

Store samples at 4°C during this time; do not freeze.

1.3 Sample preparation

- (i) Wear gloves during sample preparation; use a separate pair for each sample.

- (ii) Discard any gaping shellfish and those with obvious signs of damage.

(iii) Select at least ten oysters or clams, 15 mussels, or 30 cockles.

- (iv) Scrub shellfish clean under cold, running tap water of potable quality.

- (v) Dry with clean paper towels.

- (vi) Open shellfish with a sterile shucking knife (flamed and cooled), as follows.

* Another 25 g of homogenate may be removed at this stage for detection of salmonella.

1.3.1 Oysters/clams

Insert the knife between the two shells towards the hinge end of the shellfish. Push the knife further into the shellfish and prise open the upper shell, allowing any liquor to drain into a sterile weighed bag or beaker. Push the blade through the shellfish and sever the muscle attachments by slicing across. Remove the upper shell and scrape the contents of the lower shell into the bag or beaker. Repeat for ten oysters/clams and collect in the same bag or beaker.

1.3.2 Mussels/cockles

Insert the knife between the shells through the byssal opening of the shellfish and separate the shells by twisting the knife. Collect the liquor in a weighed sterile bag or beaker. Cut the muscle between the two shells and scrape the contents into the sterile bag or beaker. Repeat for at least 15 mussels or 30 cockles and collect in the same bag or beaker.

1.4 Homogenization and dilution of sample

1.4.1 Dilution fluid

0.1% peptone in water, pH 7.2 ± 0.2

1.4.2 Homogenization in stomacher

Place the bag containing shellfish flesh and liquor inside two more bags; this will prevent small pieces of shell from puncturing the bag. Remove excess air and place in the stomacher. Operate stomacher for 2-3 minutes (min).

Remove 50g another 25g of homogenate may be removed at this stage for detection of salmonella) of homogenate to another stomacher bag. From a measured 450 mL volume of sterile dilution fluid, add about 100 mL to the 50 g sample. Homogenize in the stomacher for –3 min. Then add the remainder of the dilution fluid and mix well. This forms the master 1 in 10 dilution.

Prepare a 1 in 100 dilution by adding 10 mL of the 1 in 10 dilution to 90 mL dilution fluid. If levels of E. coli are expected to be high, -e.g., for category C and prohibited harvesting areas -prepare 1 in 1000 and 1 in 10 000 dilutions in the same way. Store remainder of the sample homogenate at 1-4°C until testing is completed.

1.4.3 Homogenization in blender (homogenizer) Weigh beaker containing shellfish flesh and liquor and subtract the weight of the beaker to obtain the weight of sample. Add two parts by weight of sterile dilution fluid. Transfer to a sterile blender, replace lid, and homogenize at high speed (about 12 000 rev/min) for a total of 60 seconds (s) (four sessions of 15 s blending with 15 s intervals). Stand for 30 s, swirl briefly, and transfer 30 mL of homogenate to 70 mL of sterile dilution fluid. This forms the master 1 in 10 dilution.

Prepare further decimal dilutions as described in 1.4.1.

1.5 Examination

1.5.1 Media

Minerals modified glutamate broth (MMGB), e.g. Oxoid CM607 (base) and L124 sodium glutamate. Equivalent formulations from other suppliers may be used. This medium is prepared as single and double strength and dispensed in quantities of 10mL in bottles or tubes.

Double strength: Dissolve 5 g ammonium chloride in 1 L of distilled water. Add 22.7 g minerals modified medium base and 12.7 g sodium glutamate.

Single strength: Dissolve 2.5 g ammonium chloride in 1 L of distilled water. Add 11.4 g minerals modified medium base and 6.4 g sodium glutamate.

Mix to dissolve completely. Adjust pH to 6.7 after autoclaving. Dispense in 10 mL. Sterilize in the autoclave for 10 min at 116°C.

5-bromo-4-chloro-3-indolyl-β-D-glucuronide agar (BCIG) tryptone bile agar containing 75mg/l 5-bromo-4-chloro-3-indolyl-β-D-glucuronide, e.g. Oxoid CM 945(TBX agar), Lab M LAB 162 (tryptone bile glucuronide agar).

1.5.2 First stage tests

1.5.2.1 Inoculation

(a)	 Inoculate 10 mL of 1 in 10 homogenate to each of five tubes containing 10 mL of double strength MMGB. Each tube contains the equivalent of 1 g of tissue.

(b) 	Inoculate 1 mL of the 1 in 10 homogenate to each of five tubes containing 10 mL of single strength MMGB. Each tube contains the equivalent of 0.1 g of tissue.

(c)	 Inoculate 1 mL of the 1 in 100 dilution to each of five tubes containing 10 mL of single strength MMGB. Each tube contains the equivalent of 0.01 g of tissue.

(d)	 If further dilutions have been prepared, inoculate 1 mL aliquots of each dilution to each of five tubes containing 10 mL of single strength MMGB.

1.5.2.2 Incubation

(e) 	Incubate the inoculated tubes at 37 ± 1°C for 24 ± 2 h.

(f) 	At the end of the incubation period, examine the tubes for the presence of acid, denoted by a yellow coloration of the medium. Note that the presence of any acid, regardless of quantity, is regarded as a positive result.

Absence of acid denotes a negative result for E. coli.

1.5.3.1 Second stage tests

(g)	 At the time of detection, subculture all tubes showing the presence of acid to a section of BCIG agar and streak to separate colonies.

Do not refrigerate tubes before subculture. Note that up to five sections per plate may be used.

(h) Incubate BCIG agar plates at 44 ± 1°C for 20-24 h.

(i) Examine the plates for the presence of bluegreen colonies, which signify b-glucuronidase activity. Tubes of MMGB that grow blue-green colonies are deemed to contain E. coli. Absence of blue-green colonies denotes a negative result for E. coli.

Control cultures

NCTC 9001 Escherichia coli (β-glucuronidase positive)
NCTC 9528 Klebsiella aerogenes (β-glucuronidasenegative)

1.5.4 Calculation of E. coli count

(j) After completing the second stage tests, determine the number of MMGB tubes/bottles positive for E. coli. Compute the most probable number (MPN) by reference to the MPN table for the appropriate dilution range. Report the results as the number of E. coli per 100 g shellfish. If the positive tube combination obtained is not shown in the MPN tables, either report the test as void or repeat the test from the sample homogenate stored at 1-4°C.

2    Examination of shellfish for Salmonella spp.

Tests for salmonellas are required to be applied only to shellfish for immediate human consumption (final product) and not for the classification of harvesting areas. In certain circumstances it may be necessary to test for the presence of S. typhi. A general method for salmonella, which will recover a wide range of serotypes, is given below. This method is not suitable for the specific isolation of S. typhi, however, and an additional method for its isolation is also described.

2.1 General method for salmonella

2.1.1 Media

The use of commercially available dehydrated media is advised. Equivalent formulations from other suppliers may be used.

Buffered peptone water -e.g., Oxoid CM 509.Rappaport Vassiliadis Soya (RVS) peptone broth –e.g., Oxoid CM 866. XLD agar-e.g., Oxoid CM 469.Brilliant green agar (BGA) – e.g., Oxoid CM 329 (modified).

2.1.2 Sample preparation See Section 1.3.

2.1.3 Sample homogenization and pre-enrichment

- Stomacher used for E. coli

Remove 25 g of bulk homogenate prepared as in section 1.4.1 to a 250 mL or larger

container. Add 225 mL of buffered peptone water (BPW). Mix well. Incubate at 37 ± 1°C for 18-24 h

b) Blender used for E. coli

Weigh out a separate 25 g amount into a sterile beaker.  Add about 50 mL from a measured 225 mL volume of BPW and homogenise at high speed for a total of 60 s (see Section 1.4.2). Add remainder of BPW and mix well. Incubate at 37 ± 1°C for 18-24 h.

2.1.4 Selective enrichment

Transfer 0.1 mL of incubated BPW to 10 mL sterile Rappaport Vassiliadis soya (RVS) peptone broth. Incubate at 41-42°C for 48 ± 2 h.

2.1.5 Subculture

Subculture the incubated RVS broth after 18 to 24 h and again after 48 h. Using a loop of 2-3 mm diameter, subculture to plates of XLD agar and brilliant green agar (BGA) and streak to obtain isolated colonies. Incubate the XLD and BGA plates at 37 ± 1°C for 18-24 h. At the end of incubation examine the plates for suspect salmonella colonies. Investigate suspect colonies using standard biochemical and serological methods.

2.2 Method for Salmonella typhi

2.2.1 Media

Buffered peptone water – e.g., Oxoid CM 509 Selenite F broth – e.g., Oxoid CM 399 with sodium biselenite L121 to give 0.4% concentration. 
Caution: sodium biselenite is hazardous. Desoxycholate citrate agar (Hynes modification) –e.g., Oxoid CM227, Lab M LAB65

Bismuth sulphite agar -e.g., Lab M LAB13A andLAB13B.

2.2.2 Sample preparation

See Section 2.1.2.

2.2.3 Sample homogenisation and pre-enrichment

See Section 2.1.3. 5

2.2.4 Selective enrichment

Transfer 10 mL of incubated BPW to 100 mL of sterile selenite F broth. Incubate at 37 ± 1°C for 24 ± 2 h.

2.2.5 Subculture

At the end of the incubation period, subculture the selenite F broth to desoxycholate citrate agar (DCA) and bismuth sulphite agar. Use a loopful 2-3 mm in diameter and streak to obtain isolated colonies.

Incubate the plates at 37°C for 18 to 24 h. Examine the plates for suspect salmonella colonies. Reincubate the plates for a further 24 h (48 ± 2 h in total) and examine again at the end of incubation. Investigate suspect salmonella colonies using standard biochemical and serological methods.